## Sheet1
Q9420
Vendor Questions
| Vendor Question | University Response
1 | I noticed a requirement to include a Power Supply at the Drive Cabinet for powering a Cooling Tower Motor Space Heater for each. Can you provide a specific Voltage & Ampacity for this Motor Space Heater? | Design drive for a space heater load of 200W at 120VAC.